## marshfield_tim_todd
company_name | asset_sys_id | SerialNumberSource | MakeModelGolden | MakeGolden | L1Golden | ModelGolden | make_source | model_name_source | modality_source | InScope | GbInScope | AssetIdSource | ServiceStrategy | CompanyId | CreatedOn | LastUpdatedOn
MARSHFIELD | 1765136 | 850A6062 |  |  |  |  | GE Healthcare | NM/CT 850 | Scanning Systems, Gamma Camera, Single Photon Emission Tomography | TRUE | FALSE | 1765136 | In-House Service | 74239
MARSHFIELD | 1781065 | 81008167153 |  |  |  |  | Hologic Inc | Selenia | Radiographic Systems, Digital, Mammographic, DR unit | TRUE | FALSE | 1781065 | In-House Service | 74239
MARSHFIELD | 1781066 | 8S-1500 |  |  |  |  | GE HealthCare Surgery | OEC 9800 PLUS | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 1781066 | In-House Service | 74239
MARSHFIELD | 1781067 | 9.22e+18 |  |  |  |  | GE Healthcare | Revolution XR/d | Radiographic Systems, Digital | TRUE | FALSE | 1781067 | In-House Service | 74239
MARSHFIELD | 1781068 | 285 |  |  |  |  | GE Healthcare | Revolution XR/d | Radiographic Systems, Digital | TRUE | FALSE | 1781068 | In-House Service | 74239
MARSHFIELD | 1781069 | 10-490 |  |  |  |  | Ziehm Imaging Inc | Ziehm Vision R | Radiographic/Fluoroscopic Units, Mobile, M7 | TRUE | FALSE | 1781069 | In-House Service | 74239
MARSHFIELD | 1781070 | H195155 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 1781070 | Vendor Service | 74239
MARSHFIELD | 1781071 | 73533 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Flash | Scanning Systems, Computed Tomography | TRUE | FALSE | 1781071 | Vendor Service | 74239
MARSHFIELD | 1781077 | 16001 |  |  |  |  | GE Healthcare | Infinia GP3 H3000WT | Scanning Systems, Gamma Camera, Wausau | TRUE | FALSE | 1781077 | In-House Service | 74239
MARSHFIELD | 1781097 | BC0111-1101 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 725 | Radiographic Units | TRUE | FALSE | 1781097 | In-House Service | 74239
MARSHFIELD | 1781648 | 183241 |  |  |  |  | Siemens Healthcare | MAGNETOM Sola | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 1781648 | Vendor Service | 74239
MARSHFIELD | 1781653 | 30-0120-15M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 1781653 | In-House Service | 74239
MARSHFIELD | 1783697 | 100234 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 725 | Radiographic Units | TRUE | FALSE | 1783697 | In-House Service | 74239
MARSHFIELD | 10016302 | 11006 |  |  |  |  | Siemens Healthcare | Biograph mCT 20 Excel | Scanning Systems, Computed Tomography/Positron Emission Tomography | TRUE | FALSE | 10016302 | In-House Service | 74239
MARSHFIELD | 10016533 | 1317 |  |  |  |  | Philips Healthcare | Allura Xper FD20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 10016533 | Vendor Service | 74239
MARSHFIELD | 10037803 | 41DBBA144002 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 10037803 | In-House Service | 74239
MARSHFIELD | 10037804 | 41DBBA144005 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 10037804 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10037820 | 1440 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite | Radiographic Systems, Digital | TRUE | FALSE | 10037820 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10037833 | 160950 |  |  |  |  | Siemens Healthcare | Artis zeego | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 10037833 | In-House Service | 74239
MARSHFIELD | 10040696 | 8S-2354 |  |  |  |  | GE HealthCare Surgery | OEC 9800 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 10040696 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10043461 | 7040 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite | Radiographic Systems, Digital | TRUE | FALSE | 10043461 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10046503 | 1022118WK2 |  |  |  |  | GE Healthcare | AMX 4+ | Radiographic Units, Mobile | TRUE | FALSE | 10046503 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10046514 | 57072 |  |  |  |  | Siemens Healthcare | AXIOM ARTIS DMP | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 10046514 | In-House Service | 74239
MARSHFIELD | 10046525 | 2172 |  |  |  |  | Siemens Healthcare | AXIOM Luminos TF | Radiographic/Fluoroscopic Systems, General-Purpose, Rm1 | TRUE | FALSE | 10046525 | In-House Service | 74239
MARSHFIELD | 10046531 | ES-2334 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 10046531 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 10046532 | ES-2138 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 10046532 | In-House Service | 74239
MARSHFIELD | 10046542 | 160401 |  |  |  |  | Siemens Healthcare | Artis zeego | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 10046542 | In-House Service | 74239
MARSHFIELD | 10047899 | 2141 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Systems, Digital | TRUE | FALSE | 10047899 | In-House Service | 74239
MARSHFIELD | 55500108 | 1584 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55500108 | In-House Service | 74239
MARSHFIELD | 55500192 | BD0452-1201 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 525 | Radiographic Systems, Digital | TRUE | FALSE | 55500192 | In-House Service | 74239
MARSHFIELD | 55500758 | 10-1013-17 |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55500758 | In-House Service | 74239
MARSHFIELD | 55501591 | E2-0342 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55501591 | In-House Service | 74239
MARSHFIELD | 55501593 | 82-1019 |  |  |  |  | GE HealthCare Surgery | OEC 9800 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55501593 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55501844 | 8S-3186 |  |  |  |  | GE HealthCare Surgery | OEC 9800 PLUS | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55501844 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55501845 | 41E09CB56008 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55501845 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55501848 | ESXXXX04027 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55501848 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55501865 | 41E09CB56009 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55501865 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55502061 | CPD1442F6 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 525 | Radiographic Systems, Digital | TRUE | FALSE | 55502061 | Vendor Service | 74239
MARSHFIELD | 55502125 | 7574 |  |  |  |  | Philips Healthcare | Brilliance CT Big Bore | Scanning Systems, Computed Tomography | TRUE | FALSE | 55502125 | Vendor Service | 74239
MARSHFIELD | 55502285 | MXL3141L6Q |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55502285 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55502393 | QG-6500-06M-1207 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | ODYSSEY HF Series | Radiographic Systems, Digital | TRUE | FALSE | 55502393 | In-House Service | 74239
MARSHFIELD | 55502451 | QG5500-06L-1106 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | ODYSSEY HF Series | Radiographic Systems, Digital | TRUE | FALSE | 55502451 | In-House Service | 74239
MARSHFIELD | 55503095 | 30-0518-24M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55503095 | In-House Service | 74239
MARSHFIELD | 55503144 | 30-0518-22M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55503144 | In-House Service | 74239
MARSHFIELD | 55503923 | FAXXTE00259 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55503923 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55504022 | H192858 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55504022 | Vendor Service | 74239
MARSHFIELD | 55504042 | ES-2991 |  |  |  |  | GE HealthCare Surgery | OEC 9900 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55504042 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55504044 | 20-0816-11M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55504044 | Vendor Service | 74239
MARSHFIELD | 55504045 | 20-0816-10M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55504045 | Vendor Service | 74239
MARSHFIELD | 55504147 | 41E09CB56010 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55504147 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55504408 | 206389 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55504408 | In-House Service | 74239
MARSHFIELD | 55504409 | 1473 |  |  |  |  | Siemens Healthcare | AXIOM Luminos TF | Radiographic/Fluoroscopic Systems, General-Purpose | TRUE | FALSE | 55504409 | In-House Service | 74239
MARSHFIELD | 55504518 | 30441 |  |  |  |  | Siemens Healthcare | MAGNETOM Espree | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55504518 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55504623 | 81008167121 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55504623 | In-House Service | 74239
MARSHFIELD | 55504642 | 81006166834 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55504642 | In-House Service | 74239
MARSHFIELD | 55505209 | 76041 |  |  |  |  | Philips Healthcare | Brilliance CT Big Bore | Scanning Systems, Computed Tomography | TRUE | FALSE | 55505209 | Vendor Service | 74239
MARSHFIELD | 55505594 | QG4000-08E-0504 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | ODYSSEY HF Series | Radiographic Systems, Digital | TRUE | FALSE | 55505594 | In-House Service | 74239
MARSHFIELD | 55505668 | ESXXXX04024 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55505668 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55505671 | ESXXXX05713 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55505671 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55506929 | ES-2990 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55506929 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55506947 | E2-5243 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55506947 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55506981 | 10-0912-10 |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55506981 | In-House Service | 74239
MARSHFIELD | 55507014 | 37090 |  |  |  |  | Siemens Healthcare | MAGNETOM Symphony | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55507014 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55507015 | 169764 |  |  |  |  | Siemens Healthcare | MAGNETOM Avanto | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55507015 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55508306 | ES-3003 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55508306 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55508487 | 2DC1232398 |  |  |  |  | Canon Medical Systems USA Inc | Aquilion ONE | Scanning Systems, Computed Tomography | TRUE | FALSE | 55508487 | In-House Service | 74239
MARSHFIELD | 55508492 | 2050 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite | Radiographic Systems, Digital | TRUE | FALSE | 55508492 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55508497 | 10458 |  |  |  |  | Ziehm Imaging Inc | Ziehm Vision R | Radiographic/Fluoroscopic Units, Mobile, M7 | TRUE | FALSE | 55508497 | In-House Service | 74239
MARSHFIELD | 55508594 | C1694 |  |  |  |  | Medtronic Surgical Technologies Div Medtronic Inc | O-Arm O2 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55508594 | Vendor Service | 74239
MARSHFIELD | 55508743 | ES-2780 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55508743 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55508822 | 7519 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55508822 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55508898 | C3875 |  |  |  |  | Medtronic Surgical Technologies Div Medtronic Inc | O-Arm O2 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55508898 | Vendor Service | 74239
MARSHFIELD | 55509044 | 488 |  |  |  |  | Philips Healthcare | Azurion 7 M20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55509044 | Vendor Service | 74239
MARSHFIELD | 55509073 | 2667 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55509073 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55509662 | H193161 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55509662 | In-House Service | 74239
MARSHFIELD | 55509715 | 3966 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55509715 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55509784 | 86190170 |  |  |  |  | FUJIFILM Medical Systems USA | D-EVO II 14x17 GOS | Radiographic Systems, Digital | TRUE | FALSE | 55509784 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55510016 | 158709 |  |  |  |  | Siemens Healthcare | Artis Zee Multi-Purpose | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510016 | Vendor Service | 74239
MARSHFIELD | 55510033 | 10-1013-22 |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55510033 | In-House Service | 74239
MARSHFIELD | 55510038 | 1247 |  |  |  |  | Philips Healthcare | Azurion 7 M20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510038 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55510142 | 938 |  |  |  |  | Philips Healthcare | Allura Xper FD20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510142 | Vendor Service | 74239
MARSHFIELD | 55510185 | 791 |  |  |  |  | Philips Healthcare | Allura Xper FD10 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510185 | Vendor Service | 74239
MARSHFIELD | 55510193 | 73321 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Flash | Scanning Systems, Computed Tomography | TRUE | FALSE | 55510193 | In-House Service | 74239
MARSHFIELD | 55510202 | 1030081WK2 |  |  |  |  | GE Healthcare | Optima XR200amx | Radiographic Units, Mobile | TRUE | FALSE | 55510202 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55510212 | 148543 |  |  |  |  | Siemens Healthcare | Artis zee Ceiling | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510212 | Vendor Service | 74239
MARSHFIELD | 55510248 | 1254 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55510248 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55510304 | 17441 |  |  |  |  | Spectrum Dynamics Medical Inc | D-SPECT | Scanning Systems, Gamma Camera, Single Photon Emission Tomography | TRUE | FALSE | 55510304 | In-House Service | 74239
MARSHFIELD | 55510321 | 121 |  |  |  |  | Philips Healthcare | Azurion 7 B20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55510321 | Vendor Service | 74239
MARSHFIELD | 55511039 | 20-0516-32 |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55511039 | In-House Service | 74239
MARSHFIELD | 55511077 | 2617 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55511077 | In-House Service | 74239
MARSHFIELD | 55511479 | BD0585-1002 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 525 | Radiographic Systems, Digital | TRUE | FALSE | 55511479 | In-House Service | 74239
MARSHFIELD | 55511508 | 2300 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Systems, Digital | TRUE | FALSE | 55511508 | In-House Service | 74239
MARSHFIELD | 55511510 | AN3625H4 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | INDi XL Series | Radiographic Systems, Digital | TRUE | FALSE | 55511510 | In-House Service | 74239
MARSHFIELD | 55511515 | 60213 |  |  |  |  | Siemens Healthcare | LUMINOS AGILE | Radiographic Systems, Digital | TRUE | FALSE | 55511515 | In-House Service | 74239
MARSHFIELD | 55511518 | 1068 |  |  |  |  | Siemens Healthcare | AXIOM ARISTOS FD | Radiographic Systems, Digital | TRUE | FALSE | 55511518 | In-House Service | 74239
MARSHFIELD | 55511519 | 1968 |  |  |  |  | Siemens Healthcare | AXIOM ARISTOS | Radiographic Systems, Digital , F4 | TRUE | FALSE | 55511519 | Vendor Service | 74239
MARSHFIELD | 55511592 | 105220 |  |  |  |  | Philips Healthcare | Optimus 65 | Radiographic Systems, Digital | TRUE | FALSE | 55511592 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55511600 | 76949 |  |  |  |  | Philips Healthcare | Optimus 65 | Radiographic Systems, Digital | TRUE | FALSE | 55511600 | In-House Service | 74239
MARSHFIELD | 55511601 | 102904 |  |  |  |  | Philips Healthcare | BuckyDiagnost TH | Radiographic Systems, Digital | TRUE | FALSE | 55511601 | In-House Service | 74239
MARSHFIELD | 55511613 | 81003110729 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Room 3 | TRUE | FALSE | 55511613 | In-House Service | 74239
MARSHFIELD | 55511614 | 81003110726 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Room 2 | TRUE | FALSE | 55511614 | In-House Service | 74239
MARSHFIELD | 55511615 | 81007166949 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Rm 4 | TRUE | FALSE | 55511615 | In-House Service | 74239
MARSHFIELD | 55511619 | 2DC1242409 |  |  |  |  | Canon Medical Systems USA Inc | Aquilion ONE | Scanning Systems, Computed Tomography | TRUE | FALSE | 55511619 | Vendor Service | 74239
MARSHFIELD | 55511620 | 2DC1262412 |  |  |  |  | Canon Medical Systems USA Inc | Aquilion ONE | Scanning Systems, Computed Tomography | TRUE | FALSE | 55511620 | In-House Service | 74239
MARSHFIELD | 55511635 | 81001177770 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55511635 | In-House Service | 74239
MARSHFIELD | 55511641 | 41E09CB58008 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55511641 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55511642 | HN0059-1094 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 725 | Radiographic Units | TRUE | FALSE | 55511642 | In-House Service | 74239
MARSHFIELD | 55511646 | 2028 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55511646 | In-House Service | 74239
MARSHFIELD | 55511648 | QG6500-04B-0201 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | ODYSSEY HF Series | Radiographic Systems, Digital | TRUE | FALSE | 55511648 | In-House Service | 74239
MARSHFIELD | 55511651 | 40644 |  |  |  |  | Siemens Healthcare | MAGNETOM Verio | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55511651 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55511658 | 2313 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55511658 | In-House Service | 74239
MARSHFIELD | 55511704 | 85-0193 |  |  |  |  | GE HealthCare Surgery | OEC 9800 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55511704 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55511710 | 81006166795 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic, rm2 | TRUE | FALSE | 55511710 | In-House Service | 74239
MARSHFIELD | 55511905 | 81008167007 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55511905 | In-House Service | 74239
MARSHFIELD | 55511906 | BC0109-1101 |  |  |  |  | Del Medical Imaging Corp A Del Global Technologies Co | ATC 725 | Radiographic Systems, Digital | TRUE | FALSE | 55511906 | In-House Service | 74239
MARSHFIELD | 55512996 | FBXXXE00027 |  |  |  |  | GE HealthCare Surgery | OEC Elite CFD | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55512996 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55513000 | 3005 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55513000 | In-House Service | 74239
MARSHFIELD | 55513382 | 10-0712-19 |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55513382 | In-House Service | 74239
MARSHFIELD | 55513670 | SDM131901063 |  |  |  |  | Hologic Inc | Selenia Dimensions 3D Performance (SDA-SYS-3000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55513670 | In-House Service | 74239
MARSHFIELD | 55513724 | 182845 |  |  |  |  | Siemens Healthcare | MAGNETOM Sola | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55513724 | Vendor Service | 74239
MARSHFIELD | 55513726 | G81923 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR X30 | Radiographic Units, Mobile | TRUE | FALSE | 55513726 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55513727 | G81761 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR P-52 | Radiographic Systems, Digital | TRUE | FALSE | 55513727 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55513784 | A5TJ-56340 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR Battery charger | Radiographic Systems, Digital | TRUE | FALSE | 55513784 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55513785 | U4D19Y2032 |  |  |  |  | Canon Medical Systems Corp | ULTIMAX-i (DREX-UI80) | Radiographic/Fluoroscopic Systems | TRUE | FALSE | 55513785 | In-House Service | 74239
MARSHFIELD | 55513890 | 715393CT1 |  |  |  |  | GE Healthcare | Discovery CT750 HD | Scanning Systems, Computed Tomography | TRUE | FALSE | 55513890 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55513936 | FSXXTX00094 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55513936 | In-House Service | 74239
MARSHFIELD | 55514013 | MXL0504PX9, Gen 5019 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55514013 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55514019 | MXL0530FLJ |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55514019 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55514128 | 122233 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge Plus | Scanning Systems, Computed Tomography | TRUE | FALSE | 55514128 | In-House Service | 74239
MARSHFIELD | 55514272 | 30311 |  |  |  |  | Siemens Healthcare | Multix Fusion Max | Radiographic Systems, Digital | TRUE | FALSE | 55514272 | In-House Service | 74239
MARSHFIELD | 55514273 | 30306 |  |  |  |  | Siemens Healthcare | Multix Fusion Max | Radiographic Systems, Digital | TRUE | FALSE | 55514273 | In-House Service | 74239
MARSHFIELD | 55514275 | 155513 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55514275 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55514282 | 12998 |  |  |  |  | Siemens Healthcare | Modilett Elara Max | Radiographic Units, Mobile | TRUE | FALSE | 55514282 | In-House Service | 74239
MARSHFIELD | 55515206 | 30-0819-27M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55515206 | In-House Service | 74239
MARSHFIELD | 55515277 | 182856 |  |  |  |  | Siemens Healthcare | MAGNETOM Sola | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55515277 | Vendor Service | 74239
MARSHFIELD | 55515388 | 1005153 |  |  |  |  | KaVo Dental | KaVo NOMAD Pro 2 | Radiographic Units, Dental | TRUE | FALSE | 55515388 | In-House Service | 74239
MARSHFIELD | 55515464 | MQ0001297021 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55515464 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55515465 | MQ0001297024 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55515465 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55515510 | 1160 |  |  |  |  | Siemens Healthcare | Symbia T6 | Scanning Systems, Computed Tomography/Single Photon Emission Computed Tomography | TRUE | FALSE | 55515510 | In-House Service | 74239
MARSHFIELD | 55515526 | 246506 |  |  |  |  | Siemens Healthcare | SOMATOM FORCE | Scanning Systems, Computed Tomography | TRUE | FALSE | 55515526 | Vendor Service | 74239
MARSHFIELD | 55515571 | 290 |  |  |  |  | Philips Healthcare | Azurion 7 M20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55515571 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55515575 | 170105 |  |  |  |  | Siemens Healthcare | MAGNETOM Skyrafit | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55515575 | Vendor Service | 74239
MARSHFIELD | 55515582 | 180468 |  |  |  |  | Siemens Healthcare | ARTIS ICONO BIPLANE | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55515582 | In-House Service | 74239
MARSHFIELD | 55515600 | 122254 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge Plus | Scanning Systems, Computed Tomography | TRUE | FALSE | 55515600 | In-House Service | 74239
MARSHFIELD | 55515612 | ES-3194 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55515612 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55515649 | QRAD-15R-1144 |  |  |  |  | Quantum Imaging Inc An SCD.USA Co | ODYSSEY HF Series | Radiographic Systems, Digital | TRUE | FALSE | 55515649 | In-House Service | 74239
MARSHFIELD | 55517002 | SDM131900122 |  |  |  |  | Hologic Inc | Selenia Dimensions 3D Performance (SDA-SYS-3000-3D) | Radiographic Systems, Digital, Mammographic Mobile 2 | TRUE | FALSE | 55517002 | In-House Service | 74239
MARSHFIELD | 55517006 | 16 |  |  |  |  | Gamma Medica Inc | LUMA GEM | NUCLEAR IMAGING SYSTEM, GAMMA CAMERA, MBI | TRUE | FALSE | 55517006 | Vendor Service | 74239
MARSHFIELD | 55517013 | 4613 |  |  |  |  | Siemens Healthcare | Uroskop Omnia | Radiographic/Fluoroscopic Systems, Urologic | TRUE | FALSE | 55517013 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55517052 | 81007166874 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55517052 | In-House Service | 74239
MARSHFIELD | 55517091 | 86424929 |  |  |  |  | FUJIFILM Medical Systems USA | DR-ID 1200DS | Radiographic Systems, Digital | TRUE | FALSE | 55517091 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55517113 | 1101 |  |  |  |  | Siemens Healthcare | SYMBIA T | Scanning Systems, Gamma Camera | TRUE | FALSE | 55517113 | In-House Service | 74239
MARSHFIELD | 55517333 | 2231 |  |  |  |  | Siemens Healthcare | Symbia Intevo 6 | Scanning Systems, Gamma Camera | TRUE | FALSE | 55517333 | In-House Service | 74239
MARSHFIELD | 55517339 | 83727 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55517339 | In-House Service | 74239
MARSHFIELD | 55517348 | A5TJ-56304 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR Battery charger | Radiographic Systems, Digital | TRUE | FALSE | 55517348 | In-House Service | 74239
MARSHFIELD | 55517349 | A8D7-00491 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR P-52 | Radiographic Systems, Digital | TRUE | FALSE | 55517349 | In-House Service | 74239
MARSHFIELD | 55517385 | U4C18Y2019, 30048338 |  |  |  |  | Canon Medical Systems USA Inc | DREX-UI80 | Radiographic Systems, Digital | TRUE | FALSE | 55517385 | In-House Service | 74239
MARSHFIELD | 55517541 | LU16181063 |  |  |  |  | Novadaq Technologies Inc | LUNA Fluorescent Angiography | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55517541 | In-House Service | 74239
MARSHFIELD | 55517598 | 6000418 |  |  |  |  | Philips Healthcare | Optimus 65 | Radiographic Systems, Digital | TRUE | FALSE | 55517598 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55517633 | H192637 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55517633 | Vendor Service | 74239
MARSHFIELD | 55517634 | 46320652 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO | Radiographic Systems, Digital | TRUE | FALSE | 55517634 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55517839 | SDM131700437 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Rm1 | TRUE | FALSE | 55517839 | In-House Service | 74239
MARSHFIELD | 55518329 | 36313HL5 |  |  |  |  | GE Healthcare | PROTEUS | Radiographic Systems, Digital | TRUE | FALSE | 55518329 | Vendor Service | 74239
MARSHFIELD | 55518412 | 31580 |  |  |  |  | Siemens Healthcare | Cios Fusion | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55518412 | In-House Service | 74239
MARSHFIELD | 55520133 | 96444 |  |  |  |  | Siemens Healthcare | SOMATOM Definition AS 64 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55520133 | In-House Service | 74239
MARSHFIELD | 55520569 | 2057 |  |  |  |  | Siemens Healthcare | Symbia T6 | Scanning Systems, Computed Tomography/Single Photon Emission Computed Tomography | TRUE | FALSE | 55520569 | In-House Service | 74239
MARSHFIELD | 55522608 | SDM131700301 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55522608 | In-House Service | 74239
MARSHFIELD | 55524232 | 96352 |  |  |  |  | Siemens Healthcare | SOMATOM Definition AS 20 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55524232 | In-House Service | 74239
MARSHFIELD | 55526534 | 96676 |  |  |  |  | Siemens Healthcare | SOMATOM Definition AS 64 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55526534 | Vendor Service | 74239
MARSHFIELD | 55526874 | 375 |  |  |  |  | Philips Healthcare | Azurion 7 M20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55526874 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55526876 | 75 |  |  |  |  | Philips Healthcare | Azurion 7 B20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55526876 | In-House Service | 74239
MARSHFIELD | 55526957 | 83734 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55526957 | In-House Service | 74239
MARSHFIELD | 55527206 | 56120189 |  |  |  |  | FUJIFILM Medical Systems USA | D-EVO II 14x17 GOS | Radiographic Systems, Digital | TRUE | FALSE | 55527206 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55527382 | 86352264 |  |  |  |  | FUJIFILM Medical Systems USA | DEVO II CSI DR-ID 1211 A | Radiographic Systems, Digital | TRUE | FALSE | 55527382 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55528090 | 1030074WK7 |  |  |  |  | GE Healthcare | Optima XR200amx | Radiographic Units, Mobile | TRUE | FALSE | 55528090 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55530393 | G-66545 |  |  |  |  | SEDECAL | SEDECAL X PLUS (LP) PLUS | Radiographic Systems, Digital | TRUE | FALSE | 55530393 | Vendor Service | 74239
MARSHFIELD | 55530658 | 118071 |  |  |  |  | Siemens Healthcare | SOMATOM go.All | Scanning Systems, Computed Tomography | TRUE | FALSE | 55530658 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55530683 | 7539 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55530683 | In-House Service | 74239
MARSHFIELD | 55530684 | MQ00012C2032 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55530684 | In-House Service | 74239
MARSHFIELD | 55532003 | SDM131900691 |  |  |  |  | Hologic Inc | Selenia Dimensions 3D Performance (SDA-SYS-3000-3D) | Radiographic Systems, Digital, Mammographic Mobile 3 | TRUE | FALSE | 55532003 | In-House Service | 74239
MARSHFIELD | 55532007 | 81006166835 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Mobile #1,pink wrap | TRUE | FALSE | 55532007 | In-House Service | 74239
MARSHFIELD | 55532044 | A5TJ-56275 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR Battery charger | Radiographic Systems, Digital | TRUE | FALSE | 55532044 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55532046 | 30-0719-29M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55532046 | In-House Service | 74239
MARSHFIELD | 55532072 | A5TJ-60385 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR Battery charger | Radiographic Systems, Digital | TRUE | FALSE | 55532072 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55532156 | 89-3005 |  |  |  |  | GE HealthCare Surgery | OEC 9800 PLUS | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55532156 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55532719 | 1858 |  |  |  |  | Siemens Healthcare | Symbia S | Scanning Systems, Gamma Camera | TRUE | FALSE | 55532719 | In-House Service | 74239
MARSHFIELD | 55532741 | 1571 |  |  |  |  | Siemens Healthcare | AXIOM Luminos TF | Radiographic/Fluoroscopic Systems, General-Purpose, Rm3 | TRUE | FALSE | 55532741 | In-House Service | 74239
MARSHFIELD | 55534082 | C3636 |  |  |  |  | Medtronic Surgical Technologies Div Medtronic Inc | O-Arm O2 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55534082 | Vendor Service | 74239
MARSHFIELD | 55534171 | 86452330 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO II G35 | Radiographic Systems, Digital | TRUE | FALSE | 55534171 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55536052 | 920887opt1 |  |  |  |  | GE Healthcare | Optima O640X3/8 | Scanning Systems, Gamma Camera, Single Photon Emission Tomography | TRUE | FALSE | 55536052 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55536065 | 41F168B6B006 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55536065 | In-House Service | 74239
MARSHFIELD | 55536066 | MQ0001288029 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55536066 | In-House Service | 74239
MARSHFIELD | 55536079 | 305698 |  |  |  |  | Canon Medical Systems USA Inc | Aquilion 64 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55536079 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55536080 | 5DB1462063 |  |  |  |  | Canon Medical Systems USA Inc | Aquilion PRIME | Scanning Systems, Computed Tomography | TRUE | FALSE | 55536080 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55536081 | 81008155265 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55536081 | Vendor Service | 74239
MARSHFIELD | 55536082 | ES-0386 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55536082 | In-House Service | 74239
MARSHFIELD | 55536083 | 30034327 |  |  |  |  | Canon Medical Systems USA Inc | DUA-450F Kalare 14" | Radiographic/Fluoroscopic Systems, General-Purpose | TRUE | FALSE | 55536083 | Vendor Service | 74239
MARSHFIELD | 55536084 | ESXXXX04045 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55536084 | In-House Service | 74239
MARSHFIELD | 55536085 | 147608 |  |  |  |  | Siemens Healthcare | Artis zee Ceiling | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55536085 | In-House Service | 74239
MARSHFIELD | 55536098 | 1103 |  |  |  |  | Siemens Healthcare | Multix Fusion Max | Radiographic Systems, Digital | TRUE | FALSE | 55536098 | In-House Service | 74239
MARSHFIELD | 55536153 | 52198285 |  |  |  |  | Philips Healthcare | BuckyDiagnost CS | Radiographic Systems, Digital | TRUE | FALSE | 55536153 | In-House Service | 74239
MARSHFIELD | 55536163 | 52198324 |  |  |  |  | Philips Healthcare | Optimus 65 | Radiographic Systems, Digital | TRUE | FALSE | 55536163 | In-House Service | 74239
MARSHFIELD | 55536169 | 30-0919-11M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55536169 | In-House Service | 74239
MARSHFIELD | 55536181 | MPC45083002 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Visionary Suite | Radiographic Systems, Digital | TRUE | FALSE | 55536181 | In-House Service | 74239
MARSHFIELD | 55536530 | 5427 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55536530 | Vendor Full Contract | 74239
MARSHFIELD | 55536892 | 920885MR2 |  |  |  |  | GE Healthcare | Optima MR450w | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55536892 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55537003 | 9000542 |  |  |  |  | TIMS Medical Div Foresight Imaging | Tims MVP | Radiographic/Fluoroscopic Systems | TRUE | FALSE | 55537003 | In-House Service | 74239
MARSHFIELD | 55538021 | 86452333 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO II G35 | Radiographic Systems, Digital | TRUE | FALSE | 55538021 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55538803 | 10290 |  |  |  |  | Siemens Healthcare | Multix Fusion Max | Radiographic Systems, Digital | TRUE | FALSE | 55538803 | In-House Service | 74239
MARSHFIELD | 55538804 | 10112 |  |  |  |  | Siemens Healthcare | Multitom Rax | Radiographic Systems, Digital | TRUE | FALSE | 55538804 | Vendor Service | 74239
MARSHFIELD | 55538807 | 2055 |  |  |  |  | Siemens Healthcare | Symbia T6 | Scanning Systems, Computed Tomography/Single Photon Emission Computed Tomography | TRUE | FALSE | 55538807 | In-House Service | 74239
MARSHFIELD | 55538817 | 31068 |  |  |  |  | Siemens Healthcare | Cios Fusion | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55538817 | In-House Service | 74239
MARSHFIELD | 55538826 | 30-0518-25M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55538826 | In-House Service | 74239
MARSHFIELD | 55538958 | 3534 |  |  |  |  | Siemens Healthcare | MOBILETT Mira Max | Radiographic Units, Mobile | TRUE | FALSE | 55538958 | In-House Service | 74239
MARSHFIELD | 55538959 | 3485 |  |  |  |  | Siemens Healthcare | MOBILETT Mira Max | Radiographic Units, Mobile | TRUE | FALSE | 55538959 | In-House Service | 74239
MARSHFIELD | 55539091 | 1182 |  |  |  |  | Siemens Healthcare | SYMBIA | Scanning Systems, Gamma Camera | TRUE | FALSE | 55539091 | In-House Service | 74239
MARSHFIELD | 55539262 | 85007180846 |  |  |  |  | Hologic Inc | Trident | Radiographic Units, Specimen | TRUE | FALSE | 55539262 | In-House Service | 74239
MARSHFIELD | 55539331 | 005-051-62019 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR P-52 | Radiographic Systems, Digital | TRUE | FALSE | 55539331 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55539348 | 31579 |  |  |  |  | Siemens Healthcare | Cios Fusion | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55539348 | In-House Service | 74239
MARSHFIELD | 55539658 | 82045 |  |  |  |  | Siemens Healthcare | CIOS FLOW | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55539658 | In-House Service | 74239
MARSHFIELD | 55539862 | 42273 |  |  |  |  | Siemens Healthcare | MAGNETOM Aera | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55539862 | Vendor Service | 74239
MARSHFIELD | 55540001 | 1084S01 |  |  |  |  | Siemens Healthcare | POLYDORAS 50/80 | Radiographic Systems, Digital | TRUE | FALSE | 55540001 | In-House Service | 74239
MARSHFIELD | 55540007 | SDM131700440, PS 4483078 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55540007 | In-House Service | 74239
MARSHFIELD | 55540048 | MQ0001288004 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55540048 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55540077 | E9-0314 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55540077 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55540492 | FZ69123 |  |  |  |  | Canon Medical Systems USA Inc | QUANTUM LINEAR II | Radiographic Units | TRUE | FALSE | 55540492 | In-House Service | 74239
MARSHFIELD | 55540521 | H194399 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55540521 | Vendor Service | 74239
MARSHFIELD | 55540762 | 64069 |  |  |  |  | Siemens Healthcare | LUMINOS AGILE | Radiographic Systems, Digital | TRUE | FALSE | 55540762 | In-House Service | 74239
MARSHFIELD | 55540763 | 2702 |  |  |  |  | Siemens Healthcare | MULTIX TOP | Radiographic Units | TRUE | FALSE | 55540763 | In-House Service | 74239
MARSHFIELD | 55540776 | 30-0721-20M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55540776 | In-House Service | 74239
MARSHFIELD | 55540777 | 30-0721-22M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55540777 | In-House Service | 74239
MARSHFIELD | 55540823 | 82183 |  |  |  |  | Siemens Healthcare | CIOS FLOW | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55540823 | In-House Service | 74239
MARSHFIELD | 55540868 | 183499 |  |  |  |  | Siemens Healthcare | MAGNETOM Sola | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55540868 | Vendor Service | 74239
MARSHFIELD | 55540869 | 130109 |  |  |  |  | Siemens Healthcare | SOMATOM GO OPEN PRO | Scanning Systems, Computed Tomography | TRUE | FALSE | 55540869 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55540974 | 7463/5566 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55540974 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55540975 | MQ00012C2020 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55540975 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55540976 | 155801 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55540976 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55542065 | FSXXTX00097 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55542065 | In-House Service | 74239
MARSHFIELD | 55542069 | 83798 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55542069 | In-House Service | 74239
MARSHFIELD | 55542070 | 41F168B6B008 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55542070 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55542073 | 1308 |  |  |  |  | Siemens Healthcare | Symbia E | Scanning Systems, Gamma Camera | TRUE | FALSE | 55542073 | Vendor Service | 74239
MARSHFIELD | 55542075 | 61046 |  |  |  |  | Siemens Healthcare | LUMINOS AGILE | Radiographic Systems, Digital | TRUE | FALSE | 55542075 | Vendor Service | 74239
MARSHFIELD | 55542076 | 81003178013 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55542076 | In-House Service | 74239
MARSHFIELD | 55542120 | 81007166925 |  |  |  |  | Hologic Inc | Selenia Dimensions 9000 (SDM-SYS-9000-3D) | Radiographic Systems, Digital, Mammographic , Rm1 | TRUE | FALSE | 55542120 | In-House Service | 74239
MARSHFIELD | 55542240 | 92101 |  |  |  |  | Siemens Healthcare | SOMATOM Definition AS 64 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55542240 | In-House Service | 74239
MARSHFIELD | 55542241 | 998964WK1 |  |  |  |  | GE Healthcare | Precision 500 | Radiographic/Fluoroscopic Systems, General-Purpose | TRUE | FALSE | 55542241 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55542283 | 69626 |  |  |  |  | Siemens Healthcare | MAGNETOM Avanto | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55542283 | Vendor Service | 74239
MARSHFIELD | 55542306 | 25130 |  |  |  |  | GE Healthcare | Optima O640X3/8 | Scanning Systems, Gamma Camera, Single Photon Emission Tomography | TRUE | FALSE | 55542306 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55542334 | 5711 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55542334 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55542868 | 11127 |  |  |  |  | Siemens Healthcare | e.cam | Scanning Systems, Gamma Camera, Single Photon Emission Tomography | TRUE | FALSE | 55542868 | In-House Service | 74239
MARSHFIELD | 55543454 | MQ00012B3044 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go | Radiographic Units, Mobile | TRUE | FALSE | 55543454 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543746 | 37332HL4 |  |  |  |  | GE Healthcare | PROTEUS | Radiographic Systems, Digital | TRUE | FALSE | 55543746 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543871 | 1003 |  |  |  |  | Medtronic Surgical Technologies Div Medtronic Inc | O-Arm 1000 (Bl70000027R) | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55543871 | In-House Service | 74239
MARSHFIELD | 55543872 | 82-3424 |  |  |  |  | GE HealthCare Surgery | OEC 9800 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55543872 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543873 | 8S-2683 |  |  |  |  | GE HealthCare Surgery | OEC 9800 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55543873 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543944 | SITE ID 715393PR1 |  |  |  |  | GE Healthcare | PROTEUS | Radiographic Systems, Digital | TRUE | FALSE | 55543944 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543945 | 2UA5300NPZ |  |  |  |  | GE Healthcare | Revolution XR/d | Radiographic Systems, Digital | TRUE | FALSE | 55543945 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55543966 | MQ00012B1013 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55543966 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55544144 | 1025689WK |  |  |  |  | GE Healthcare | Precision 500 | Radiographic/Fluoroscopic Systems, General-Purpose | TRUE | FALSE | 55544144 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55544233 | SDM131900590 |  |  |  |  | Hologic Inc | Selenia Dimensions 3D Performance (SDA-SYS-3000-3D) | Radiographic Systems, Digital, Mammographic | TRUE | FALSE | 55544233 | In-House Service | 74239
MARSHFIELD | 55544392 | 142086 |  |  |  |  | Siemens Healthcare | MAGNETOM Aera | Scanning Systems, Magnetic Resonance Imaging | TRUE | FALSE | 55544392 | PARTS SOURCE RSA 855-296-9280 | 74239
MARSHFIELD | 55544527 | 56920085 |  |  |  |  | FUJIFILM Medical Systems USA | DEVO II CSI DR-ID 1213 | Radiographic Systems, Digital | TRUE | FALSE | 55544527 | In-House Service | 74239
MARSHFIELD | 55545129 | 155601 |  |  |  |  | Siemens Healthcare | SOMATOM Definition Edge | Scanning Systems, Computed Tomography | TRUE | FALSE | 55545129 | In-House Service | 74239
MARSHFIELD | 55545141 | UFCA19452 |  |  |  |  | GE Healthcare | Discovery NM 530c | Scanning Systems, Gamma Camera, Wausau | TRUE | FALSE | 55545141 | Vendor Service | 74239
MARSHFIELD | 55545431 | 83617 |  |  |  |  | Siemens Healthcare | CIOS FLOW | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55545431 | In-House Service | 74239
MARSHFIELD | 55545890 | 5671 |  |  |  |  | FUJIFILM Medical Systems USA | FDR D-EVO Suite II | Radiographic Systems, Digital | TRUE | FALSE | 55545890 | Vendor Full Contract | 74239
MARSHFIELD | 55547093 | FAXXTE00559 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55547093 | In-House Service | 74239
MARSHFIELD | 55547141 | FAXXTE00585 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55547141 | In-House Service | 74239
MARSHFIELD | 55547247 | K0015455 |  |  |  |  | KaVo Dental | KaVo OP 3D | Radiographic Units, Dental | TRUE | FALSE | 55547247 | In-House Service | 74239
MARSHFIELD | 55547486 | ES-2541 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55547486 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55547744 | TRI2101547 |  |  |  |  | Hologic Inc | Trident | Radiographic Units, Specimen | TRUE | FALSE | 55547744 | Vendor Service | 74239
MARSHFIELD | 55549036 | MQ00012B3021 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55549036 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55549081 | E2-5223 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55549081 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55549197 | FAHXTX00185 |  |  |  |  | GE HealthCare Surgery | OEC Elite CFD | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55549197 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55549354 | 30-0322-18M |  |  |  |  | Hologic Inc | InSight FD | Radiographic/Fluoroscopic Units, Mobile, Extremity | TRUE | FALSE | 55549354 | In-House Service | 74239
MARSHFIELD | 55549443 | 797 |  |  |  |  | Philips Healthcare | Azurion 7 M20 | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | 55549443 | Vendor Service | 74239
MARSHFIELD | 55549634 | FBXXTE01534 |  |  |  |  | GE HealthCare Surgery | OEC Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55549634 | In-House Service | 74239
MARSHFIELD | 55549918 | H193387 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55549918 | Vendor Service | 74239
MARSHFIELD | 55549926 | H196229 |  |  |  |  | Varian Medical Systems Inc A Siemens Healthineers Co | TrueBeam | Radiotherapy Systems, Linear Accelerator | TRUE | FALSE | 55549926 | Vendor Service | 74239
MARSHFIELD | 55550476 | 3DM160103576 |  |  |  |  | Hologic Inc | Selenia Dimensions 3D Performance (SDA-SYS-3000-3D) | Radiographic Systems, Digital, Mammographic, | TRUE | FALSE | 55550476 | In-House Service | 74239
MARSHFIELD | 55550479 | ES-2053 |  |  |  |  | GE HealthCare Surgery | OEC 9900 Elite | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | 55550479 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55550502 | A8CF-05345 |  |  |  |  | Konica Minolta Sensing America Inc | AeroDR P-52 | Radiographic Systems, Digital | TRUE | FALSE | 55550502 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55551203 | MQ00012A9070 |  |  |  |  | FUJIFILM Medical Systems USA | FDR Go PLUS | Radiographic Units, Mobile | TRUE | FALSE | 55551203 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | 55559559 | 52198285 |  |  |  |  | Philips Healthcare | Optimus 65 | Radiographic Systems, Digital | TRUE | FALSE | 55559559 | In-House Service | 74239
MARSHFIELD | 55568726 | 96893 |  |  |  |  | Siemens Healthcare | SOMATOM Definition AS 64 | Scanning Systems, Computed Tomography | TRUE | FALSE | 55568726 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | DLR00295 | 295 |  |  |  |  | Medtronic Surgical Technologies Div Medtronic Inc | O-Arm 1000 (Bl70000027R) | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | DLR00295 | In-House Service | 74239
MARSHFIELD | DLRE9-2491 | E9-2491 |  |  |  |  | GE HealthCare Surgery | OEC 9900 | Radiographic/Fluoroscopic Units, Mobile | TRUE | FALSE | DLRE9-2491 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | LMC01451 | 1024 |  |  |  |  | Siemens Healthcare | Symbia T6 | Scanning Systems, Computed Tomography/Single Photon Emission Computed Tomography | TRUE | FALSE | LMC01451 | In-House Service | 74239
MARSHFIELD | NT128078 | 128078 |  |  |  |  | Siemens Healthcare | SOMATOM GO OPEN PRO | Scanning Systems, Computed Tomography | TRUE | FALSE | NT128078 | IN HOUSE or PARTSSOURCE VENDOR SERVICE | 74239
MARSHFIELD | NT159198 | 159198 |  |  |  |  | Siemens Healthcare | Artis Zee Multi-Purpose | Radiographic/Fluoroscopic Systems, Angiography/Interventional | TRUE | FALSE | NT159198 | Vendor Service | 74239